{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["List1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"List1","index":0,"n_rows":88,"n_cols":8,"rows_kept":88,"cut":false,"hidden":false,"merged":[[1,1,1,5]]}
[null,"Věznice Znojmo, Dyjská 4, 669 02 ZNOJMO",null,null,null,null,"Příloha č. 2"]
[null,"Elektromateriál období  1.5.2018 - 30.4.2019"]
[]
[null,"Název zboží","jednotka","ks","cena/ks, bal. bez DPH","cena/ks, bal. s DPH","cena/celkem bez DPH","cena/celkem s DPH"]
["1.","kabel CY 4 M","m",100]
["2.","kabel CYKY 3x1,5","m",200]
["3.","kabel CYKY 3x2,5","m",300]
["4.","kabel CYSY 3x1,5","m",100]
["5.","kabel SYKFY 3x2x0,5","m",100]
["6.","kabel CMFM 3x1","m",100]
["7.","kabel AV skart","ks",10]
["8.","pflexošňůra 3x1,5 5m","ks",20]
["9.","pflexošňůra 3x1,5 3m","ks",20]
["10.","bužírka smršťovací 3-1,2mm","ks",10]
["11.","bužírka smršťovací 4,8-2,4mm","ks",10]
["12.","bužírka smršťovací 9,5-4,8mm","ks",10]
["13.","svorkovnice lámací","ks",100]
["14.","svorka Wago 2273 - 202","ks",50]
["15.","svorka Wago 2273 - 204","ks",50]
["16.","svorka Wago 2273 - 208","ks",10]
["17.","svorka Wago 222 - 412","ks",50]
["18.","svorka Wago 222 - 413","ks",50]
["19.","svorka Wago 222 - 415","ks",50]
["20.","svorka na pospojení P2X-95","ks",100]
["21.","víčko krabice 68","ks",50]
["22.","víčko krabice 100","ks",20]
["23.","krabice acidur","ks",10]
["24.","krabice KP 68","ks",50]
["25.","krabice KO 100","ks",20]
["26.","krabice lištová","ks",50]
["27.","lišta vkládací PVC 40x20","m",50]
["28.","spínač 3553 č.5","ks",20]
["29.","spínač 3553 č.6","ks",20]
["30.","spínač 3553 č.7","ks",20]
["31.","spínač 3559 č.5","ks",20]
["32.","spínač 3559 č.6","ks",20]
["33.","spínač 3559 č.7","ks",20]
["34.","dvojzásuvka 5512A - tango","ks",20]
["35.","dvojzásuvka 5512A - klasik","ks",50]
["36.","zásuvka cedar IP44","ks",20]
["37.","zásuvka 220V Legran gumová","ks",10]
["38.","vidlice 220V Legran gumová","ks",20]
["39.","jistič GW 6/1/B","ks",5]
["40.","jistič GW 10/1/B","ks",10]
["41.","jistič GW 16/1/B","ks",20]
["42.","jistič GW 20/1/B","ks",3]
["43.","jistič GW 6/3/B","ks",3]
["44.","jistič GW 10/3/B","ks",3]
["45.","jistič GW 16/3/B","ks",3]
["46.","jistič GW 20/3/B","ks",3]
["47.","chránič proudový GW         16/1N/B/0.03","ks",5]
["48.","chránič proudový Noark         16/1N/B/0.03","ks",5]
["49.","přepínač čtyřpólový 25 A","ks",5]
["50.","páska stahovací elektrikářská 430x5, bal. 100 ks","bal.",2]
["51.","páska izolační, bal. 10 ks","bal. ",10]
["52.","žárovka 60W/E27","ks",200]
["53.","žárovka úsporná Philips 11W/E14","ks",10]
["54.","žárovka úsporná Philips 11W/E27","ks",50]
["55.","žárovka úsporná Philips 14W/E14","ks",10]
["56.","žárovka úsporná Philips 14W/E27","ks",50]
["57.","trubice zářivková Philips master PL-S 11W/840/2P","ks",50]
["58.","trubice zářivková Philips          TL-D 18W/840","ks",100]
["59.","trubice zářivková Philips          TL-D 36W/840","ks",200]
["60.","trubice zářivková Philips          TL-D 58W/840","ks",50]
["61.","svítidlo nouzové Modus Tiger OZAWTG1SE 1 hod IP42","ks",10]
["62.","zářivkové svítidlo prachotěsné 2x36W","ks",1]
["63.","starter Philips S10 4-65W","ks",100]
["64.","konektor BNC","ks",20]
["65.","konektor F","ks",20]
["66.","konektor CINCH - VK","ks",20]
["67.","pero protahovací 20 m pro elektr","ks",1]
["68.","baterie alkalická LR03","ks",30]
["69.","baterie alkalická LR06","ks",150]
["70.","baterie alkalická LR20","ks",30]
["71.","baterie alkalická 9V","ks",30]
[null,null,null,null,"CELKEM :"]
[]
[null,"Specifikované zboží je možno zaměnit pouze výrobkem stejné nebo vyšší kvality."]
[null,"Uchazeč doplní konkrétní značky a typy nabízeného zboží a nabízenou jednotkovou cenu."]
[null,"Součástí dodávky požadujeme bezpečnostní listy podle nařízení ( ES ) č. 1907/2006. "]
[null,"( stačí v elektronické podobě )"]
[null,"Dodávka bude uskutečněna pouze v nevratných obalech a paletách. Nelze-li uskutečnit "]
[null,"dodávku v nevratných obalech, nebudou tyto účtovány. Na náklady dodavatele "]
[null," budou navráceny zpět. Nevratné obaly je povinen si dodavatel, na vyzvání odběratele, "]
[null,"odebrat zpět (§ 10 zákona 477/2001 Sb o zpětném odběru)."]
[]
[]
[null,"Uvedené ceny jsou včetně dopravy do místa plnění."]