{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Data","Soupis položek-","Soupis položek+"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":2,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Data","index":0,"n_rows":16,"n_cols":16,"rows_kept":16,"cut":false,"hidden":false,"merged":[]}
[]
[]
[]
[]
["p.č.","rok","č.ak.","kap.","OZR.","č.položky","popis položky","mj.","množství","cena/mj.","cena celkem","Nh/mj.","Nh celkem","VKP","CKP","DPH"]
[1,2016,53,"RR","R2-2NP",764816,"skříň Univers 144M/1100x550x110/IP30-zapu  FW624FT","ks",1,0,{"$f":"I6*J6","v":0},0,{"$f":"I6*L6","v":0},null,"*",1]
[2,2016,53,"RR","R2-2NP",781128,"sběrnice hřeben G3L-1000C-16mm2 3x19vývod vidlice","ks",2,0,0,0,0,null,"*",2]
[3,2016,53,"RR","R2-2NP",171110,"vodič CY 16  /H07V-U/","m",30,0,0,0,0,null,"*",3]
[4,2016,53,"RR","R2-2NP",171109,"vodič CY 10  /H07V-U/","m",40,0,0,0,0,null,"*",4]
[5,2016,53,"RR","R2-2NP",784312,"svorka řadová KXA04LH  4mm2/32A/fázová","ks",3,0,0,0,0,null,"*",5]
[6,2016,53,"RR","R2-2NP",784433,"svorkovnice KM11N 5x16+6x10mm2 na lištu modrá","ks",6,0,0,0,0,null,"*",6]
[7,2016,53,"RR","R2-2NP",434004,"jistič LPN 1pól/ch.B/ 6-16A","ks",45,0,0,0,0,null,"*",7]
[8,2016,53,"RR","R2-2NP",435026,"jistič LTN-32B-3 3pól/ch.B/ 32A/10kA","ks",1,0,0,0,0,null,"*",8]
[9,2016,53,"RR","R2-2NP",435028,"jistič LTN-50B-3 3pól/ch.B/ 50A/10kA","ks",1,0,0,0,0,null,"*",9]
[10,2016,53,"RR","R2-2NP",438502,"proudový chránič 4pol OFI-40-4-030AC 10kA","ks",6,0,0,0,0,null,"*",11]
[11,2016,53,"RR","R2-2NP",461302,"relé paměťové MIG-20-20-A230 20A/AC230V/2xZ","ks",1,0,0,0,0,null,"*",12]

{"sheet":"Soupis položek-","index":1,"n_rows":26,"n_cols":9,"rows_kept":26,"cut":false,"hidden":false,"merged":[]}
[]
[]
[null,""]
[null,"název akce: Věznice H.Slavkov Velit.Bud-SILNOPR.ELE"]
[null,"popis: Věznice H.Slavkov Velit.Bud-SILNOPR.ELE"]
[null,"označení rozvaděče: R2-2NP"]
[null,"popis rozvaděče: R2-2.NP"]
[]
["Výkaz výměr"]
["p.č.","č.položky","popis položky","mj.","množství","cena/mj.","cena celkem","Nh/mj.","Nh celkem"]
[null,"Rozpis rozvaděče R2-2NP"]
[1,764816,"skříň Univers 144M/1100x550x110/IP30-zapu  FW624FT","ks",1,0,{"$f":"E12*F12","v":0},0,{"$f":"E12*H12","v":0}]
[2,781128,"sběrnice hřeben G3L-1000C-16mm2 3x19vývod vidlice","ks",2,0,0,0,0]
[3,171110,"vodič CY 16  /H07V-U/","m",30,0,0,0,0]
[4,171109,"vodič CY 10  /H07V-U/","m",40,0,0,0,0]
[5,784312,"svorka řadová KXA04LH  4mm2/32A/fázová","ks",3,0,0,0,0]
[6,784433,"svorkovnice KM11N 5x16+6x10mm2 na lištu modrá","ks",6,0,0,0,0]
[7,434004,"jistič LPN 1pól/ch.B/ 6-16A","ks",45,0,0,0,0]
[8,435026,"jistič LTN-32B-3 3pól/ch.B/ 32A/10kA","ks",1,0,0,0,0]
[9,435028,"jistič LTN-50B-3 3pól/ch.B/ 50A/10kA","ks",1,0,0,0,0]
[10,438502,"proudový chránič 4pol OFI-40-4-030AC 10kA","ks",6,0,0,0,0]
[11,461302,"relé paměťové MIG-20-20-A230 20A/AC230V/2xZ","ks",1,0,0,0,0]
[null,null," součet",null,null,null,{"$f":"SUM(G12:G22)","v":0},null,{"$f":"SUM(I12:I22)","v":0}]
[]
["Datum: 8.11.2016"]
["Vypracoval:"]

{"sheet":"Soupis položek+","index":2,"n_rows":26,"n_cols":9,"rows_kept":26,"cut":false,"hidden":false,"merged":[]}
[]
[]
[null,""]
[null,"název akce: Věznice H.Slavkov Velit.Bud-SILNOPR.ELE"]
[null,"popis: Věznice H.Slavkov Velit.Bud-SILNOPR.ELE"]
[null,"označení rozvaděče: R2-2NP"]
[null,"popis rozvaděče: R2-2.NP"]
[]
["Výkaz výměr"]
["p.č.","č.položky","popis položky","mj.","množství","cena/mj.","cena celkem","Nh/mj.","Nh celkem"]
[null,"Rozpis rozvaděče R2-2NP"]
[1,764816,"skříň Univers 144M/1100x550x110/IP30-zapu  FW624FT","ks",1,0,{"$f":"E12*F12","v":0},0,{"$f":"E12*H12","v":0}]
[2,781128,"sběrnice hřeben G3L-1000C-16mm2 3x19vývod vidlice","ks",2,0,0,0,0]
[3,171110,"vodič CY 16  /H07V-U/","m",30,0,0,0,0]
[4,171109,"vodič CY 10  /H07V-U/","m",40,0,0,0,0]
[5,784312,"svorka řadová KXA04LH  4mm2/32A/fázová","ks",3,0,0,0,0]
[6,784433,"svorkovnice KM11N 5x16+6x10mm2 na lištu modrá","ks",6,0,0,0,0]
[7,434004,"jistič LPN 1pól/ch.B/ 6-16A","ks",45,0,0,0,0]
[8,435026,"jistič LTN-32B-3 3pól/ch.B/ 32A/10kA","ks",1,0,0,0,0]
[9,435028,"jistič LTN-50B-3 3pól/ch.B/ 50A/10kA","ks",1,0,0,0,0]
[10,438502,"proudový chránič 4pol OFI-40-4-030AC 10kA","ks",6,0,0,0,0]
[11,461302,"relé paměťové MIG-20-20-A230 20A/AC230V/2xZ","ks",1,0,0,0,0]
[null,null,"součet",null,null,null,{"$f":"SUM(G12:G22)","v":0},null,{"$f":"SUM(I12:I22)","v":0}]
[]
["Datum: 8.11.2016"]
["Vypracoval:"]